## Sheet1
Software Version | 3.08.01
Experiment File Path:
Protocol File Path:
Plate Number | Plate 1
Date | 2021-06-04
Time | 9:34
Reader Type: | Synergy H1
Reader Serial Number: | 1611141A
Reading Type | Reader
Procedure Details
Plate Type | 384 WELL PLATE
Eject plate on completion
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 485, Emission: 528
Optics: Bottom, Gain: Scale to high wells (P24)
Light Source: Xenon Flash, Lamp Energy: High
Read Speed: Sweep, Delay: 0 msec, Measurements/Data Point: 1
Read Height: 9,5 mm
Automatic gain values
Gain(485,528) | 102
Results
Actual Temperature: | 27
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
| A | 8767 | 1660 | 90 | 74 | 2359 | 676 | 1353 | 452 | 910 | 230 | 569 | 183 | 7567 | 2376 | 6212 | 1225 | 3803 | 680 | 2615 | 242 | 1250 | 253 | 1349 | 252 | 485.528
| B | 63 | 56 | 77 | 64 | 68 | 63 | 85 | 77 | 66 | 69 | 78 | 56 | 60 | 78 | 65 | 51 | 64 | 62 | 73 | 66 | 66 | 72 | 75 | 77 | 485.528
| C | 8804 | 2129 | 101 | 86 | 2634 | 954 | 2012 | 466 | 1503 | 323 | 816 | 197 | 83 | 90 | 89 | 82 | 73 | 75 | 94 | 75 | 102 | 87 | 69 | 99 | 485.528
| D | 59 | 65 | 65 | 75 | 76 | 73 | 68 | 75 | 72 | 71 | 60 | 59 | 54 | 70 | 65 | 62 | 67 | 72 | 43 | 66 | 67 | 69 | 64 | 67 | 485.528
| E | 7404 | 982 | 86 | 107 | 1900 | 569 | 1611 | 408 | 974 | 242 | 625 | 190 | 82 | 88 | 80 | 93 | 104 | 78 | 83 | 77 | 88 | 96 | 81 | 101 | 485.528
| F | 74 | 73 | 69 | 84 | 74 | 60 | 79 | 79 | 58 | 62 | 58 | 83 | 63 | 68 | 63 | 65 | 68 | 89 | 87 | 85 | 83 | 70 | 96 | 48 | 485.528
| G | 6928 | 1449 | 70 | 76 | 3166 | 585 | 1535 | 340 | 1338 | 266 | 636 | 142 | 95 | 77 | 97 | 82 | 89 | 76 | 66 | 94 | 85 | 73 | 81 | 75 | 485.528
| H | 70 | 69 | 55 | 67 | 83 | 61 | 61 | 54 | 45 | 64 | 54 | 79 | 63 | 57 | 65 | 78 | 62 | 58 | 56 | 58 | 79 | 52 | 67 | 62 | 485.528
| I | 12194 | 3320 | 84 | 91 | 3795 | 638 | 1636 | 369 | 907 | 234 | 532 | 157 | 90 | 58 | 94 | 72 | 84 | 69 | 75 | 85 | 77 | 86 | 76 | 86 | 485.528
| J | 94 | 51 | 59 | 59 | 72 | 72 | 50 | 71 | 62 | 65 | 70 | 53 | 49 | 79 | 55 | 64 | 63 | 72 | 72 | 53 | 70 | 64 | 70 | 77 | 485.528
| K | 9893 | 1055 | 11122 | 3938 | 1934 | 542 | 1818 | 493 | 1405 | 321 | 923 | 167 | 71 | 80 | 66 | 109 | 75 | 90 | 77 | 87 | 84 | 97 | 93 | 105 | 485.528
| L | 70 | 86 | 62 | 67 | 76 | 56 | 54 | 54 | 68 | 52 | 55 | 57 | 69 | 62 | 56 | 62 | 50 | 63 | 68 | 45 | 64 | 68 | 84 | 76 | 485.528
| M | 11121 | 1469 | 102 | 93 | 2112 | 525 | 1582 | 351 | 1133 | 205 | 481 | 140 | 79 | 68 | 104 | 87 | 90 | 93 | 79 | 83 | 70 | 92 | 102 | 81 | 485.528
| N | 54 | 49 | 70 | 63 | 56 | 59 | 66 | 63 | 45 | 70 | 60 | 73 | 68 | 50 | 46 | 72 | 45 | 66 | 69 | 79 | 75 | 54 | 59 | 67 | 485.528
| O | 11622 | 3098 | 98 | 87 | 1800 | 612 | 1229 | 403 | 2990 | 819 | 1397 | 384 | 90 | 82 | 88 | 88 | 86 | 92 | 107 | 69 | 82 | 89 | 85 | 89 | 485.528
| P | 51 | 73 | 64 | 70 | 64 | 68 | 57 | 48 | 63 | 54 | 40 | 75 | 63 | 61 | 70 | 63 | 60 | 56 | 48 | 101 | 88 | 94 | 217 | 1338 | 485.528

## Process data
Software Version | 3.08.01
Experiment File Path:
Protocol File Path:
Plate Number | Plate 1
Date | 2021-05-06
Time | 16:31
Reader Type: | Synergy H1
Reader Serial Number: | 1611141A
Reading Type | Reader
Procedure Details
Plate Type | 384 WELL PLATE
Eject plate on completion
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 485, Emission: 528
Optics: Bottom, Gain: 0
Light Source: Xenon Flash, Lamp Energy: High
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 9,5 mm
Results
Actual Temperature: | 27.1
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
| A | 8767 | 1660 | 90 | 74 | 2359 | 676 | 1353 | 452 | 910 | 230 | 569 | 183 | 7567 | 2376 | 6212 | 1225 | 3803 | 680 | 2615 | 242 | 1250 | 253 | 1349 | 252 | 485.528
| B | 63 | 56 | 77 | 64 | 68 | 63 | 85 | 77 | 66 | 69 | 78 | 56 | 60 | 78 | 65 | 51 | 64 | 62 | 73 | 66 | 66 | 72 | 75 | 77 | 485.528
| C | 8804 | 2129 | 101 | 86 | 2634 | 954 | 2012 | 466 | 1503 | 323 | 816 | 197 | 83 | 90 | 89 | 82 | 73 | 75 | 94 | 75 | 102 | 87 | 69 | 99 | 485.528
| D | 59 | 65 | 65 | 75 | 76 | 73 | 68 | 75 | 72 | 71 | 60 | 59 | 54 | 70 | 65 | 62 | 67 | 72 | 43 | 66 | 67 | 69 | 64 | 67 | 485.528
| E | 7404 | 982 | 86 | 107 | 1900 | 569 | 1611 | 408 | 974 | 242 | 625 | 190 | 82 | 88 | 80 | 93 | 104 | 78 | 83 | 77 | 88 | 96 | 81 | 101 | 485.528
| F | 74 | 73 | 69 | 84 | 74 | 60 | 79 | 79 | 58 | 62 | 58 | 83 | 63 | 68 | 63 | 65 | 68 | 89 | 87 | 85 | 83 | 70 | 96 | 48 | 485.528
| G | 6928 | 1449 | 70 | 76 | 3166 | 585 | 1535 | 340 | 1338 | 266 | 636 | 142 | 95 | 77 | 97 | 82 | 89 | 76 | 66 | 94 | 85 | 73 | 81 | 75 | 485.528
| H | 70 | 69 | 55 | 67 | 83 | 61 | 61 | 54 | 45 | 64 | 54 | 79 | 63 | 57 | 65 | 78 | 62 | 58 | 56 | 58 | 79 | 52 | 67 | 62 | 485.528
| I | 12194 | 3320 | 84 | 91 | 3795 | 638 | 1636 | 369 | 907 | 234 | 532 | 157 | 90 | 58 | 94 | 72 | 84 | 69 | 75 | 85 | 77 | 86 | 76 | 86 | 485.528
| J | 94 | 51 | 59 | 59 | 72 | 72 | 50 | 71 | 62 | 65 | 70 | 53 | 49 | 79 | 55 | 64 | 63 | 72 | 72 | 53 | 70 | 64 | 70 | 77 | 485.528
| K | 9893 | 1055 | 11122 | 3938 | 1934 | 542 | 1818 | 493 | 1405 | 321 | 923 | 167 | 71 | 80 | 66 | 109 | 75 | 90 | 77 | 87 | 84 | 97 | 93 | 105 | 485.528
| L | 70 | 86 | 62 | 67 | 76 | 56 | 54 | 54 | 68 | 52 | 55 | 57 | 69 | 62 | 56 | 62 | 50 | 63 | 68 | 45 | 64 | 68 | 84 | 76 | 485.528
| M | 11121 | 1469 | 102 | 93 | 2112 | 525 | 1582 | 351 | 1133 | 205 | 481 | 140 | 79 | 68 | 104 | 87 | 90 | 93 | 79 | 83 | 70 | 92 | 102 | 81 | 485.528
| N | 54 | 49 | 70 | 63 | 56 | 59 | 66 | 63 | 45 | 70 | 60 | 73 | 68 | 50 | 46 | 72 | 45 | 66 | 69 | 79 | 75 | 54 | 59 | 67 | 485.528
| O | 11622 | 3098 | 98 | 87 | 1800 | 612 | 1229 | 403 | 2990 | 819 | 1397 | 384 | 90 | 82 | 88 | 88 | 86 | 92 | 107 | 69 | 82 | 89 | 85 | 89 | 485.528
| P | 51 | 73 | 64 | 70 | 64 | 68 | 57 | 48 | 63 | 54 | 40 | 75 | 63 | 61 | 70 | 63 | 60 | 56 | 48 | 101 | 88 | 94 | 217 | 1338 | 485.528
Remove background using V20 |  | 8666 | 1559 | -11 | -27 | 2258 | 575 | 1252 | 351 | 809 | 129 | 468 | 82 | 7466 | 2275 | 6111 | 1124 | 3702 | 579 | 2514 | 141 | 1149 | 152 | 1248 | 151 | A
|  | -38 | -45 | -24 | -37 | -33 | -38 | -16 | -24 | -35 | -32 | -23 | -45 | -41 | -23 | -36 | -50 | -37 | -39 | -28 | -35 | -35 | -29 | -26 | -24 | B
|  | 8703 | 2028 | 0 | -15 | 2533 | 853 | 1911 | 365 | 1402 | 222 | 715 | 96 | -18 | -11 | -12 | -19 | -28 | -26 | -7 | -26 | 1 | -14 | -32 | -2 | C
|  | -42 | -36 | -36 | -26 | -25 | -28 | -33 | -26 | -29 | -30 | -41 | -42 | -47 | -31 | -36 | -39 | -34 | -29 | -58 | -35 | -34 | -32 | -37 | -34 | D
|  | 7303 | 881 | -15 | 6 | 1799 | 468 | 1510 | 307 | 873 | 141 | 524 | 89 | -19 | -13 | -21 | -8 | 3 | -23 | -18 | -24 | -13 | -5 | -20 | 0 | E
|  | -27 | -28 | -32 | -17 | -27 | -41 | -22 | -22 | -43 | -39 | -43 | -18 | -38 | -33 | -38 | -36 | -33 | -12 | -14 | -16 | -18 | -31 | -5 | -53 | F
|  | 6827 | 1348 | -31 | -25 | 3065 | 484 | 1434 | 239 | 1237 | 165 | 535 | 41 | -6 | -24 | -4 | -19 | -12 | -25 | -35 | -7 | -16 | -28 | -20 | -26 | G
|  | -31 | -32 | -46 | -34 | -18 | -40 | -40 | -47 | -56 | -37 | -47 | -22 | -38 | -44 | -36 | -23 | -39 | -43 | -45 | -43 | -22 | -49 | -34 | -39 | H
|  | 12093 | 3219 | -17 | -10 | 3694 | 537 | 1535 | 268 | 806 | 133 | 431 | 56 | -11 | -43 | -7 | -29 | -17 | -32 | -26 | -16 | -24 | -15 | -25 | -15 | I
To make the std curve |  | -7 | -50 | -42 | -42 | -29 | -29 | -51 | -30 | -39 | -36 | -31 | -48 | -52 | -22 | -46 | -37 | -38 | -29 | -29 | -48 | -31 | -37 | -31 | -24 | J
0 | 0 | 9792 | 954 | 11021 | 3837 | 1833 | 441 | 1717 | 392 | 1304 | 220 | 822 | 66 | -30 | -21 | -35 | 8 | -26 | -11 | -24 | -14 | -17 | -4 | -8 | 4 | K
1 | -13 | -31 | -15 | -39 | -34 | -25 | -45 | -47 | -47 | -33 | -49 | -46 | -44 | -32 | -39 | -45 | -39 | -51 | -38 | -33 | -56 | -37 | -33 | -17 | -25 | L
10 | -7 | 11020 | 1368 | 1 | -8 | 2011 | 424 | 1481 | 250 | 1032 | 104 | 380 | 39 | -22 | -33 | 3 | -14 | -11 | -8 | -22 | -18 | -31 | -9 | 1 | -20 | M
100 | 116 | -47 | -52 | -31 | -38 | -45 | -42 | -35 | -38 | -56 | -31 | -41 | -28 | -33 | -51 | -55 | -29 | -56 | -35 | -32 | -22 | -26 | -47 | -42 | -34 | N
1000 | 1237 | 11521 | 2997 | -3 | -14 | 1699 | 511 | 1128 | 302 | 2889 | 718 | 1296 | 283 | -11 | -19 | -13 | -13 | -15 | -9 | 6 | -32 | -19 | -12 | -16 | -12 | O
|  | -50 | -28 | -37 | -31 | -37 | -33 | -44 | -53 | -38 | -47 | -61 | -26 | -38 | -40 | -31 | -38 | -41 | -45 | -53 | 0 | -13 | -7 | 116 | 1237 | P
Use std curve to translate |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
FL values To DNA | A | 6964.4068 | 1258.5192 | -1.9625 | -14.8082 | 1819.7145 | 468.5103 | 1012.0428 | 288.6708 | 656.3782 | 110.4371 | 382.6048 | 72.7029 | 6000.9813 | 1833.3631 | 4913.1133 | 909.2774 | 2979.0366 | 471.7217 | 2025.2453 | 120.0714 | 929.3488 | 128.9028 | 1008.8314 | 128.0999
concentration | B | -23.6396 | -29.2596 | -12.3996 | -22.8368 | -19.6253 | -23.6396 | -5.9768 | -12.3996 | -21.231 | -18.8225 | -11.5968 | -29.2596 | -26.0482 | -11.5968 | -22.0339 | -33.2739 | -22.8368 | -24.4425 | -15.6111 | -21.231 | -21.231 | -16.4139 | -14.0054 | -12.3996
| C | 6994.1124 | 1635.058 | 6.8689 | -5.174 | 2040.4996 | 691.7038 | 1541.124 | 299.9108 | 1132.471 | 185.1026 | 580.9099 | 83.9429 | -7.5825 | -1.9625 | -2.7654 | -8.3854 | -15.6111 | -14.0054 | 1.2489 | -14.0054 | 7.6717 | -4.3711 | -18.8225 | 5.2632
| D | -26.851 | -22.0339 | -22.0339 | -14.0054 | -13.2025 | -15.6111 | -19.6253 | -14.0054 | -16.4139 | -17.2168 | -26.0482 | -26.851 | -30.8653 | -18.0196 | -22.0339 | -24.4425 | -20.4282 | -16.4139 | -39.6967 | -21.231 | -20.4282 | -18.8225 | -22.8368 | -20.4282
| E | 5870.116 | 714.1838 | -5.174 | 11.686 | 1451.2043 | 382.6048 | 1219.1793 | 253.3452 | 707.7609 | 120.0714 | 427.5647 | 78.3229 | -8.3854 | -3.5682 | -9.9911 | 0.44603 | 9.2774 | -11.5968 | -7.5825 | -12.3996 | -3.5682 | 2.8546 | -9.1882 | 6.8689
| F | -14.8082 | -15.6111 | -18.8225 | -6.7797 | -14.8082 | -26.0482 | -10.7939 | -10.7939 | -27.6539 | -24.4425 | -27.6539 | -7.5825 | -23.6396 | -19.6253 | -23.6396 | -22.0339 | -19.6253 | -2.7654 | -4.3711 | -5.9768 | -7.5825 | -18.0196 | 2.8546 | -35.6824
| G | 5487.9572 | 1089.1169 | -18.0196 | -13.2025 | 2467.6182 | 395.4505 | 1158.1624 | 198.7511 | 1000 | 139.3399 | 436.3961 | 39.7859 | 2.0517 | -12.3996 | 3.6574 | -8.3854 | -2.7654 | -13.2025 | -21.231 | 1.2489 | -5.9768 | -15.6111 | -9.1882 | -14.0054
| H | -18.0196 | -18.8225 | -30.0624 | -20.4282 | -7.5825 | -25.2453 | -25.2453 | -30.8653 | -38.091 | -22.8368 | -30.8653 | -10.7939 | -23.6396 | -28.4567 | -22.0339 | -11.5968 | -24.4425 | -27.6539 | -29.2596 | -27.6539 | -10.7939 | -32.471 | -20.4282 | -24.4425
| I | 9715.7895 | 2591.2578 | -6.7797 | -1.1597 | 2972.6137 | 438.0018 | 1239.2507 | 222.0339 | 653.9697 | 113.6485 | 352.8992 | 51.8287 | -1.9625 | -27.6539 | 1.2489 | -16.4139 | -6.7797 | -18.8225 | -14.0054 | -5.9768 | -12.3996 | -5.174 | -13.2025 | -5.174
| J | 1.2489 | -33.2739 | -26.851 | -26.851 | -16.4139 | -16.4139 | -34.0767 | -17.2168 | -24.4425 | -22.0339 | -18.0196 | -31.6682 | -34.8796 | -10.7939 | -30.0624 | -22.8368 | -23.6396 | -16.4139 | -16.4139 | -31.6682 | -18.0196 | -22.8368 | -18.0196 | -12.3996
| K | 7868.4211 | 772.7921 | 8855.1293 | 3087.4219 | 1478.5013 | 360.9277 | 1385.3702 | 321.5879 | 1053.7913 | 183.4969 | 666.8153 | 59.8573 | -17.2168 | -9.9911 | -21.231 | 13.2917 | -14.0054 | -1.9625 | -12.3996 | -4.3711 | -6.7797 | 3.6574 | 0.44603 | 10.0803
| L | -18.0196 | -5.174 | -24.4425 | -20.4282 | -13.2025 | -29.2596 | -30.8653 | -30.8653 | -19.6253 | -32.471 | -30.0624 | -28.4567 | -18.8225 | -24.4425 | -29.2596 | -24.4425 | -34.0767 | -23.6396 | -19.6253 | -38.091 | -22.8368 | -19.6253 | -6.7797 | -13.2025
| M | 8854.3265 | 1105.174 | 7.6717 | 0.44603 | 1621.4095 | 347.2792 | 1195.8965 | 207.5825 | 835.4148 | 90.3657 | 311.9536 | 38.1802 | -10.7939 | -19.6253 | 9.2774 | -4.3711 | -1.9625 | 0.44603 | -10.7939 | -7.5825 | -18.0196 | -0.35682 | 7.6717 | -9.1882
| N | -30.8653 | -34.8796 | -18.0196 | -23.6396 | -29.2596 | -26.851 | -21.231 | -23.6396 | -38.091 | -18.0196 | -26.0482 | -15.6111 | -19.6253 | -34.0767 | -37.2881 | -16.4139 | -38.091 | -21.231 | -18.8225 | -10.7939 | -14.0054 | -30.8653 | -26.851 | -20.4282
| O | 9256.5566 | 2413.0241 | 4.4603 | -4.3711 | 1370.9188 | 417.1276 | 912.4888 | 249.331 | 2326.3158 | 583.3185 | 1047.3684 | 234.0767 | -1.9625 | -8.3854 | -3.5682 | -3.5682 | -5.174 | -0.35682 | 11.686 | -18.8225 | -8.3854 | -2.7654 | -5.9768 | -2.7654
| P | -33.2739 | -15.6111 | -22.8368 | -18.0196 | -22.8368 | -19.6253 | -28.4567 | -35.6824 | -23.6396 | -30.8653 | -42.1053 | -14.0054 | -23.6396 | -25.2453 | -18.0196 | -23.6396 | -26.0482 | -29.2596 | -35.6824 | 6.8689 | -3.5682 | 1.2489 | 100 | 1000
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
Convert dil factor to | A | 139.2881 | 125.8519 | -0.039251 | -1.4808 | 36.3943 | 46.851 | 20.2409 | 28.8671 | 13.1276 | 11.0437 | 7.6521 | 7.2703 | 120.0196 | 183.3363 | 98.2623 | 90.9277 | 59.5807 | 47.1722 | 40.5049 | 12.0071 | 18.587 | 12.8903 | 20.1766 | 12.81
real DNA conc | B | -0.47279 | -2.926 | -0.24799 | -2.2837 | -0.39251 | -2.364 | -0.11954 | -1.24 | -0.42462 | -1.8822 | -0.23194 | -2.926 | -0.52096 | -1.1597 | -0.44068 | -3.3274 | -0.45674 | -2.4442 | -0.31222 | -2.1231 | -0.42462 | -1.6414 | -0.28011 | -1.24
Odd numbers X20 | C | 139.8822 | 163.5058 | 0.13738 | -0.5174 | 40.81 | 69.1704 | 30.8225 | 29.9911 | 22.6494 | 18.5103 | 11.6182 | 8.3943 | -0.15165 | -0.19625 | -0.055308 | -0.83854 | -0.31222 | -1.4005 | 0.024978 | -1.4005 | 0.15343 | -0.43711 | -0.37645 | 0.52632
Even numbers X100 | D | -0.53702 | -2.2034 | -0.44068 | -1.4005 | -0.26405 | -1.5611 | -0.39251 | -1.4005 | -0.32828 | -1.7217 | -0.52096 | -2.6851 | -0.61731 | -1.802 | -0.44068 | -2.4442 | -0.40856 | -1.6414 | -0.79393 | -2.1231 | -0.40856 | -1.8822 | -0.45674 | -2.0428
Also divide by 1000 | E | 117.4023 | 71.4184 | -0.10348 | 1.1686 | 29.0241 | 38.2605 | 24.3836 | 25.3345 | 14.1552 | 12.0071 | 8.5513 | 7.8323 | -0.16771 | -0.35682 | -0.19982 | 0.044603 | 0.18555 | -1.1597 | -0.15165 | -1.24 | -0.071365 | 0.28546 | -0.18376 | 0.68689
to convert to ng/µL | F | -0.29616 | -1.5611 | -0.37645 | -0.67797 | -0.29616 | -2.6048 | -0.21588 | -1.0794 | -0.55308 | -2.4442 | -0.55308 | -0.75825 | -0.47279 | -1.9625 | -0.47279 | -2.2034 | -0.39251 | -0.27654 | -0.087422 | -0.59768 | -0.15165 | -1.802 | 0.057092 | -3.5682
| G | 109.7591 | 108.9117 | -0.36039 | -1.3202 | 49.3524 | 39.545 | 23.1632 | 19.8751 | 20 | 13.934 | 8.7279 | 3.9786 | 0.041035 | -1.24 | 0.073149 | -0.83854 | -0.055308 | -1.3202 | -0.42462 | 0.12489 | -0.11954 | -1.5611 | -0.18376 | -1.4005
| H | -0.36039 | -1.8822 | -0.60125 | -2.0428 | -0.15165 | -2.5245 | -0.50491 | -3.0865 | -0.76182 | -2.2837 | -0.61731 | -1.0794 | -0.47279 | -2.8457 | -0.44068 | -1.1597 | -0.48885 | -2.7654 | -0.58519 | -2.7654 | -0.21588 | -3.2471 | -0.40856 | -2.4442
| I | 194.3158 | 259.1258 | -0.13559 | -0.11597 | 59.4523 | 43.8002 | 24.785 | 22.2034 | 13.0794 | 11.3649 | 7.058 | 5.1829 | -0.039251 | -2.7654 | 0.024978 | -1.6414 | -0.13559 | -1.8822 | -0.28011 | -0.59768 | -0.24799 | -0.5174 | -0.26405 | -0.5174
| J | 0.024978 | -3.3274 | -0.53702 | -2.6851 | -0.32828 | -1.6414 | -0.68153 | -1.7217 | -0.48885 | -2.2034 | -0.36039 | -3.1668 | -0.69759 | -1.0794 | -0.60125 | -2.2837 | -0.47279 | -1.6414 | -0.32828 | -3.1668 | -0.36039 | -2.2837 | -0.36039 | -1.24
| K | 157.3684 | 77.2792 | 177.1026 | 308.7422 | 29.57 | 36.0928 | 27.7074 | 32.1588 | 21.0758 | 18.3497 | 13.3363 | 5.9857 | -0.34434 | -0.99911 | -0.42462 | 1.3292 | -0.28011 | -0.19625 | -0.24799 | -0.43711 | -0.13559 | 0.36574 | 0.0089206 | 1.008
| L | -0.36039 | -0.5174 | -0.48885 | -2.0428 | -0.26405 | -2.926 | -0.61731 | -3.0865 | -0.39251 | -3.2471 | -0.60125 | -2.8457 | -0.37645 | -2.4442 | -0.58519 | -2.4442 | -0.68153 | -2.364 | -0.39251 | -3.8091 | -0.45674 | -1.9625 | -0.13559 | -1.3202
| M | 177.0865 | 110.5174 | 0.15343 | 0.044603 | 32.4282 | 34.7279 | 23.9179 | 20.7583 | 16.7083 | 9.0366 | 6.2391 | 3.818 | -0.21588 | -1.9625 | 0.18555 | -0.43711 | -0.039251 | 0.044603 | -0.21588 | -0.75825 | -0.36039 | -0.035682 | 0.15343 | -0.91882
| N | -0.61731 | -3.488 | -0.36039 | -2.364 | -0.58519 | -2.6851 | -0.42462 | -2.364 | -0.76182 | -1.802 | -0.52096 | -1.5611 | -0.39251 | -3.4077 | -0.74576 | -1.6414 | -0.76182 | -2.1231 | -0.37645 | -1.0794 | -0.28011 | -3.0865 | -0.53702 | -2.0428
| O | 185.1311 | 241.3024 | 0.089206 | -0.43711 | 27.4184 | 41.7128 | 18.2498 | 24.9331 | 46.5263 | 58.3318 | 20.9474 | 23.4077 | -0.039251 | -0.83854 | -0.071365 | -0.35682 | -0.10348 | -0.035682 | 0.23372 | -1.8822 | -0.16771 | -0.27654 | -0.11954 | -0.27654
| P | -0.66548 | -1.5611 | -0.45674 | -1.802 | -0.45674 | -1.9625 | -0.56913 | -3.5682 | -0.47279 | -3.0865 | -0.84211 | -1.4005 | -0.47279 | -2.5245 | -0.36039 | -2.364 | -0.52096 | -2.926 | -0.71365 | 0.68689 | -0.071365 | 0.12489 | 2 | 100
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
*20 | A | 139.2881 | -0.039251 | 36.3943 | 20.2409 | 13.1276 | 7.6521 | 120.0196 | 98.2623 | 59.5807 | 40.5049 | 18.587 | 20.1766
| B | 139.8822 | 0.13738 | 40.81 | 30.8225 | 22.6494 | 11.6182 | -0.15165 | -0.055308 | -0.31222 | 0.024978 | 0.15343 | -0.37645
| C | 117.4023 | -0.10348 | 29.0241 | 24.3836 | 14.1552 | 8.5513 | -0.16771 | -0.19982 | 0.18555 | -0.15165 | -0.071365 | -0.18376
| D | 109.7591 | -0.36039 | 49.3524 | 23.1632 | 20 | 8.7279 | 0.041035 | 0.073149 | -0.055308 | -0.42462 | -0.11954 | -0.18376
| E | 194.3158 | -0.13559 | 59.4523 | 24.785 | 13.0794 | 7.058 | -0.039251 | 0.024978 | -0.13559 | -0.28011 | -0.24799 | -0.26405
| F | 157.3684 | 177.1026 | 29.57 | 27.7074 | 21.0758 | 13.3363 | -0.34434 | -0.42462 | -0.28011 | -0.24799 | -0.13559 | 0.0089206
| G | 177.0865 | 0.15343 | 32.4282 | 23.9179 | 16.7083 | 6.2391 | -0.21588 | 0.18555 | -0.039251 | -0.21588 | -0.36039 | 0.15343
| H | 185.1311 | 0.089206 | 27.4184 | 18.2498 | 46.5263 | 20.9474 | -0.039251 | -0.071365 | -0.10348 | 0.23372 | -0.16771 | -0.11954
*100 | A | 125.8519 | -1.4808 | 46.851 | 28.8671 | 11.0437 | 7.2703 | 183.3363 | 90.9277 | 47.1722 | 12.0071 | 12.8903 | 12.81
| B | 163.5058 | -0.5174 | 69.1704 | 29.9911 | 18.5103 | 8.3943 | -0.19625 | -0.83854 | -1.4005 | -1.4005 | -0.43711 | 0.52632
| C | 71.4184 | 1.1686 | 38.2605 | 25.3345 | 12.0071 | 7.8323 | -0.35682 | 0.044603 | -1.1597 | -1.24 | 0.28546 | 0.68689
| D | 108.9117 | -1.3202 | 39.545 | 19.8751 | 13.934 | 3.9786 | -1.24 | -0.83854 | -1.3202 | 0.12489 | -1.5611 | -1.4005
| E | 259.1258 | -0.11597 | 43.8002 | 22.2034 | 11.3649 | 5.1829 | -2.7654 | -1.6414 | -1.8822 | -0.59768 | -0.5174 | -0.5174
| F | 77.2792 | 308.7422 | 36.0928 | 32.1588 | 18.3497 | 5.9857 | -0.99911 | 1.3292 | -0.19625 | -0.43711 | 0.36574 | 1.008
| G | 110.5174 | 0.044603 | 34.7279 | 20.7583 | 9.0366 | 3.818 | -1.9625 | -0.43711 | 0.044603 | -0.75825 | -0.035682 | -0.91882
| H | 241.3024 | -0.43711 | 41.7128 | 24.9331 | 58.3318 | 23.4077 | -0.83854 | -0.35682 | -0.035682 | -1.8822 | -0.27654 | -0.27654
|  | 132.57 | -0.76004 | 41.6227 | 24.554 | 12.0856 | 7.4612 | 151.678 | 94.595 | 53.3764 | 26.256 | 15.7386 | 16.4933
|  | 151.694 | -0.19001 | 54.9902 | 30.4068 | 20.5798 | 10.0062 | -0.17395 | -0.44692 | -0.85638 | -0.68778 | -0.14184 | 0.074933
|  | 94.4103 | 0.53256 | 33.6423 | 24.8591 | 13.0812 | 8.1918 | -0.26227 | -0.077609 | -0.48707 | -0.69581 | 0.10705 | 0.25156
|  | 109.3354 | -0.84032 | 44.4487 | 21.5192 | 16.967 | 6.3533 | -0.59946 | -0.38269 | -0.68778 | -0.14987 | -0.84032 | -0.79215
|  | 226.7208 | -0.12578 | 51.6262 | 23.4942 | 12.2221 | 6.1204 | -1.4023 | -0.80821 | -1.0089 | -0.43889 | -0.38269 | -0.39072
|  | 117.3238 | 242.9224 | 32.8314 | 29.9331 | 19.7128 | 9.661 | -0.67172 | 0.45227 | -0.23818 | -0.34255 | 0.11508 | 0.50847
|  | 143.802 | 0.099019 | 33.5781 | 22.3381 | 12.8724 | 5.0285 | -1.0892 | -0.12578 | 0.0026762 | -0.48707 | -0.19804 | -0.38269
|  | 213.2168 | -0.17395 | 34.5656 | 21.5914 | 52.4291 | 22.1775 | -0.43889 | -0.21409 | -0.069581 | -0.82426 | -0.22212 | -0.19804
|  | 132.57 | 132.57 | 132.57 | 132.57 | 132.57 | 132.57 | -0.76004
|  | 151.694 | 151.694 | 151.694 | 151.694 | 151.694 | 151.694
|  | 1: 94.4103; 2: 94.4103; 3: 94.4103; 4: 94.4103; 5: 94.4103; 6: 94.4103 | [8 empty] | count number is added by the user to the script.
|  | 109.3354 | 109.3354 | 109.3354 | 109.3354 | 109.3354 | 109.3354
|  | 226.7208 | 226.7208 | 226.7208 | 226.7208 | 226.7208 | 226.7208
|  | 1: 117.3238; 2: 117.3238; 3: 117.3238; 4: 117.3238; 5: 117.3238; 6: 117.3238 | [8 empty] | 1 | A1 | A1 | 5 | 142
|  | 1: 143.802; 2: 143.802; 3: 143.802; 4: 143.802; 5: 143.802; 6: 143.802 | [8 empty] | 2 | B1 |  | 5 | 59
|  | 1: 213.2168; 2: 213.2168; 3: 213.2168; 4: 213.2168; 5: 213.2168; 6: 213.2168 | [8 empty] | 3 | C1 |  | 5 | 97
D1
|  | 1: 16 | [8 empty] | 5 |  |  | 5 | 34
|  | 132.57 | -0.76004
|  | 1: 151.694; 2: -0.76004 | [8 empty] | Output CSV
|  | 1: 94.4103; 2: -0.76004 | [8 empty] | 1 | A1 | A1 | 5 | 142
|  | 1: 109.3354; 2: -0.76004 | [8 empty] | 2 | B1 | B1 | 5 | 59
|  | 1: 226.7208; 2: -0.76004 | [8 empty] | 3 | C1 | C1 | 5 | 97
|  | 1: 117.3238; 2: -0.76004 | [8 empty] | 5 | D1 | D1 | 5 | 34
|  | 143.802 | -0.76004
|  | 1: 213.2168; 2: -0.76004 | [8 empty] | Output CSV for errors
[22 empty] | 4 |  |  | 5 | UN FEDINFED
|  | 132.57 | -0.76004 | 41.6227 | 24.554 | 12.0856 | 7.4612 | 151.678 | 94.595 | 53.3764 | 26.256 | 15.7386 | 16.4933
|  | 151.694 | -0.19001 | 54.9902 | 30.4068 | 20.5798 | 10.0062 | -0.17395 | -0.44692 | -0.85638 | -0.68778 | -0.14184 | 0.074933
|  | 94.4103 | 0.53256 | 33.6423 | 24.8591 | 13.0812 | 8.1918 | -0.26227 | -0.077609 | -0.48707 | -0.69581 | 0.10705 | 0.25156
|  | 109.3354 | -0.84032 | 44.4487 | 21.5192 | 16.967 | 6.3533 | -0.59946 | -0.38269 | -0.68778 | -0.14987 | -0.84032 | -0.79215
|  | 226.7208 | -0.12578 | 51.6262 | 23.4942 | 12.2221 | 6.1204 | -1.4023 | -0.80821 | -1.0089 | -0.43889 | -0.38269 | -0.39072
|  | 117.3238 | 242.9224 | 32.8314 | 29.9331 | 19.7128 | 9.661 | -0.67172 | 0.45227 | -0.23818 | -0.34255 | 0.11508 | 0.50847
|  | 143.802 | 0.099019 | 33.5781 | 22.3381 | 12.8724 | 5.0285 | -1.0892 | -0.12578 | 0.0026762 | -0.48707 | -0.19804 | -0.38269
|  | 213.2168 | -0.17395 | 34.5656 | 21.5914 | 52.4291 | 22.1775 | -0.43889 | -0.21409 | -0.069581 | -0.82426 | -0.22212 | -0.19804